Thank-you for downloading the

Risk Management Plan Template!

More templates to download on the:

Templates Repository for Software Development Process (click here)

Or paste the link below in your browser address bar:

http://blog.cm-dm.com/pages/Software-Development-Process-templates

This work is licensed under the:

Creative Commons Attribution-NonCommercial-NoDerivs 3.0 France License: http://creativecommons.org/licenses/by-nc-nd/3.0/fr/

Waiver:

You can freely download and fill the templates of blog.cm-dm.com, to produce technical documentation. The documents produced by filling the templates are outside the scope of the license. However, the modification of templates to produce new templates is in the scope of the license and is not allowed by this license.

To be compliant with the license, I suggest you to keep the following sentence at least once in the templates you store, or use, or distribute:

This Template is the property of Cyrille Michaud License terms: see http://blog.cm-dm.com/post/2011/11/04/License

Who am I? See my linkedin profile:

http://fr.linkedin.com/pub/cyrille-michaud/0/75/8b5

You can remove this first page when you’ve read it and acknowledged it!

TABLE OF CONTENTS

1	Introduction	1

1.1	Document overview	1

1.2	References	1

1.2.1	Project References	1

1.2.2	Standard and regulatory References	2

2	Risk management during software development	2

2.1	Organization and Responsibilities	2

2.2	Qualification of personnel	2

2.3	Objective of risk management activities	2

2.4	Tasks, Planning	3

2.4.1	Task n	3

2.4.2	Risk analysis initialization	3

2.4.3	Risk analysis update	4

2.5	Criteria for Acceptability of Risk	4

2.6	Verification and Risk traceability matrix	4

2.7	Approvals	4

2.8	Location of Risk Management File	4

3	Risk management after software development	4

3.1	Organization and Responsibilities	4

3.2	Qualification of personnel	5

3.3	Production and maintenance information	5

3.4	Annual Audit	5

3.5	Risk management of activities after software development	5

3.5.1	Approvals	6

3.5.2	Location of Risk Analysis Report out of design	6

4	Ranking System for Risk Analysis	6

4.1	Probability of Occurrence	6

4.2	Consequences of Hazard	6

4.3	Add your other criteria	6

4.4	Determination of risk level	6

4.5	Risk Index	7

4.6	Criteria for acceptability	7

# Introduction

## Document overview

This document covers the risk management plan of XXX device, designed in XXX software development project.

It contains:

- the risk management organization and process during the software development project,

- the risk management organization and process during maintenance, after final delivery of the software development project.

Note: most of times, risk management organization is very different before and after design. You may split the risk management plan in two documents, the first one before end of design, the second one after the end of design.

## References

### Project References

| # | Document Identifier | Document Title |
| --- | --- | --- |
| [R1] | ID | Add your documents references. One line per document |

### Standard and regulatory References

| # | Document Identifier | Document Title |
| --- | --- | --- |
| [STD1] |  | Add your documents references. One line per document |

Add the standard references to the table above. It may include ISO 14971, ISO 13485, IEC/TR 80002-1, IEC 62304, amongst others.

# Risk management during software development

This chapter covers the risk management process and organization during the software development.

## Organization and Responsibilities

Describe the organization of the team responsible for risk management during design. You may add an organization chart or add a reference to your project management plan, where the organization of the project should be already described.

| Person | Responsibility |
| --- | --- |
| Project Manager | - Overall management process responsibility |
|  | - Risk Management Plan development |
|  | - Creation and update of Risk Analysis Table |
|  | - Creation and update of Risk traceability matrix |
|  | - Creation and update Risk Analysis Report |
|  | - Independent review of Risk Management File |

## Qualification of personnel

Describe the qualification of personnel responsible for the risk management and risk analysis activities. Example:

The personnel who participates to the risk analysis is composed of:

- Experienced staff who was involved in the design process of similar products

- The expert praticians who participate to the design process

## Objective of risk management activities

The objective of risk management activities is to deliver a risk analysis report, which contains:

- The device characteristics that could impact on safety (ISO 14971),

- The software safety classification (IEC 62304),

- The risk analysis table,

- The risk traceability matrix with design requirements,

- The overall assessment of residual risk.

The risk analysis table and risk traceability matrix will be created and updated as necessary during software development, according to tasks described in §2.4.

Data on the risk analysis table includes:

- List the columns, according to your risk analysis table in your risk analysis report,

- …

Data on the risk analysis table includes:

- List the columns, according to your risk traceability matrix in your risk analysis report,

- …

See my risk analysis report template for columns samples.

Note: The Risk analysis should be performed by using the table B.1 in IEC/TR 80002-1.

The risk analysis report will summarize whether identified and mitigated risks meet the acceptable values defined in this plan. It will also include a statement indicating whether all known hazards have been identified.

The Risk Management File gathers this document and all documents quoted above.

## Tasks, Planning

Describe how the risk management activities are planned during the project.

The planning of risk activities shall be coherent with the planning of the project found in §2.2 of the project management plan.

Insert a table or list or diagram describing the planning.

Important, list the deliverables and reviews of each phase of the project

### Task n

Optional, add a sub-section for each task with:

- Inputs of the task

- Content of the task

- Outputs of the task

- Task reviews (in, if necessary, and out)

- Relationship with development planning.

Note: The tasks may group sets of activities found in §4 to §7 of ISO14971.

Examples of tasks below:

### Risk analysis initialization

During this phase, the following activities are performed: identification of intended use, identification of characteristics affecting the safety, assignation of safety class (see §2.5.1) identification of hazards, evaluation of hazards, and identification of foreseeable mitigation actions.

- Inputs: publications, clinical data, any information prior to design phase

- Two meetings with clinicians involved in the design process

- Outputs: intended use, safety characteristics and hazards, creation of risk analysis

- Relationship with development planning: Output data of this task is input data for specification

- End of Task review: review of risk analysis in draft version.

### Risk analysis update

During this phase, the following activities are performed: identification of mitigation actions, evaluation of hazards after mitigation and analysis of risk/patient outcome ratio.

- Inputs: publications, clinical data, any information prior to design phase

- Two meetings with clinicians involved in the design process and system architect

- Outputs: Update of risk analysis

- Relationship with development planning: this task is performed during specifications

- End of Task review: review of risk analysis in first revision.

## Criteria for Acceptability of Risk

Warning: I recommend you to read carefully §3.4 of IEC 80002-1 to select adequate risk criteria.

Risks will be evaluated in accordance with Risk Management Procedures for:

- Probability of occurrence,  read carefully §3.4 of IEC 80002-1

- Consequence of hazard

- Any other criteria of your choice, like probability of detection …

Based on the level, for each hazard analyzed for XXXX , the Residual Risk will be considered Acceptable if the risk level value is less than <fix your number>.

Based on the risk levels, the Overall Residual Risk for a device will be considered acceptable if the following conditions are satisfied:

- None of the identified hazards leads to an unacceptable risk (i.e., no risk level above <your number minus 1> is identified); and

- Another quantitative criterion of your choice

- Another one …

Any risk levels above these values need to have actions taken to reduce the risk.

## Verification and Risk traceability matrix

Verification testing activities will be cross-referenced in the risk traceability matrix, as applicable.

## Approvals

The Risk Management Plan must be reviewed and approved by XXXX prior to the start of the risk assessment process.

The Risk Analysis Report will be reviewed and approved by XXXX to ensure completeness and conformance to this Risk Management Plan.

## Location of Risk Management File

The Risk Management File is located in XXX (for example a document management tool defined in the software development plan or project management plan). This file contains all the documents related to the management of risk for the device and is kept for the life of the product.

# Risk management after software development

## Organization and Responsibilities

Describe the organization of the team responsible for risk management after software development. You may add an organization chart.

| Maintenance Manager | - Overall management process responsibility |
| --- | --- |
|  | - Annual Risk Management File Review |
|  | - Update of Risk Analysis Table |
|  | - Update of Risk traceability matrix |
|  | - Update Risk Analysis Report |
|  | - Independent review of Risk Management File |

## Qualification of personnel

Describe the qualification of personnel responsible for the risk management and risk analysis activities.

## Production and maintenance information

The Risk Management File is systematically reviewed and updated in the maintenance of the device, especially when:

- The product is modified (iso-functional patch),

- Analysis of data of post marketing surveillance triggers a reevaluation (internal defects, customer requests, maintenance, vigilance bulletins, of field information from any source),

## Annual Audit

Reviews and updates to the Risk Management File will be done annually

Reviews and updates to any risk related document will be documented, approved, and included within the Risk Management File.

## Risk management of activities after software development

Your QMS should have been structured to mitigate risks after design (eg: a delivery procedure to mitigate the risk of delivering the wrong version to a customer). However, some specific risks may arise from a new software or system and may deserve a separate risk analysis report.

A Risk Analysis Report out of design will be created and updated as necessary after software development. Risk linked to activities after software development will be evaluated in accordance with Risk Management Procedures, criteria for acceptability of Risk, Requirements for Review of Risk Management Activities.

The activities are:

- Sales & Marketing,

- Production,

- Storage,

- Delivery,

- Installation,

- Maintenance,

- Un-installation,

- Disposal,

- Add yours …

### Approvals

The Risk Analysis Report out of design will be reviewed and approved by XXXX to ensure completeness and conformance to this Risk Management Plan.

### Location of Risk Analysis Report out of design

The Risk Analysis Report out of design is located in XXX. (you may add it to the DHF or DMR)

# Ranking System for Risk Analysis

This section describes how the risk level is deduced from the characteristics of the risk:

- List the criteria defined in §2.2.

Describe in sub sections how you quantify your criteria

## Probability of Occurrence

Quantitative probability is very difficult to assess for software. For standalone software, a qualitative probability of occurrence is a possibility of probability ranking.

| Ranking | Definition | Frequency (F) |
| --- | --- | --- |
| 5 | Above 1 in 10 (10%) | Frequent (very high probability) |
| 4 | 1 in 100 < F ≤ 1 in 10 (1% to 10%) | Probable (high probability) |
| 3 | 1 in 1,000 < F ≤ 1 in 100 | Occasional (moderate probability) |
| 2 | ≤ 1 in 10,000 F ≤ 1 in 1,000 | Unlikely (low probability) |
| 1 | F ≤ 1 in 10,000 | Very Unlikely (very low probability) |

## Consequences of Hazard

| Ranking | Definition | Clinical and Process End Effects |
| --- | --- | --- |
| 5 | Catastrophic | Serious injury (irreversible) or death of the patient or user |
| 4 | Critical | Serious injury (reversible) to the patient or user. New treatment required. |
| 3 | Moderate | Moderate injury to the patient or user or moderate negative effect on the environment. Decline of product performance or user confidence in the product. Longer treatment time or new minor treatment required. |
| 2 | Minor | Minor injury to the patient or user or minor negative effect on the environment. Slight decline of product performance or user confidence in the product. Longer treatment time |
| 1 | Negligible / Cosmetic | No injury to the patient or user. Possible little damage to the device or longer treatment time. |

## Add your other criteria

Your definition

## Determination of risk level

A rule of your choice, like.

Risk Level = 	criterion 1

x criterion 2

x criterion n

## Risk Index

| Index | Level Range | Definition |
| --- | --- | --- |
| 1 | Below xx | Negligible Risk – acceptable as implemented |
| 2 | xx through yy | Tolerable Risk – acceptable, based on criteria for risk acceptability. Additional actions may be taken to reduce risk to a lower level. |
| 3 | Above yy | Intolerable Risk – unacceptable, based on criteria for risk acceptability. Additional actions required to reduce risk to a lower level. |

Example of cross-table of risk index with two criteria:

|  | CROSS TABLE OF RISK INDEX |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Frequent 5 | 5 | 10 | 15 | 20 | 25 |
| Probable 4 | 4 | 8 | 12 | 16 | 20 |
| Occasional 3 | 3 | 6 | 9 | 12 | 15 |
| Unlikely 2 | 2 | 4 | 6 | 8 | 10 |
| Very Unlikely 1 | 1 | 2 | 3 | 4 | 5 |
|  | Negligible 1 | Minor 2 | Important 3 | Critical 4 | Catastrophic 5 |

## Criteria for acceptability

Acceptable risk per risk level is:

- If the risk level is 1 to xx - No recommended actions are required.

- If the risk level is xx to yy - Some actions may be used, where possible, to lower the level.

- If risk level is above yy the risk is unacceptable. Mitigation action must be implemented to lower the level.